## Slide 1
  G450 / G460
  Overview of features and capabilities
  GfG Instrumentation, Inc.
  1194 Oak Valley Drive, Suite 20
  Ann Arbor, Michigan 48108
  Toll free (USA and Canada): (800) 959-0329
  Direct: +1-734-769-0573
  Service e-mail: service@gfg-inc.com
  Internet: www.gfg-inc.com
  Technical documentation and download site: www.goodforgas.com

## Slide 2: Overview of G450 / G460 Features

## Slide 3: G450 Confined Space Gas Detector
One to four sensors
Full 3-year warranty on all sensors
Optional 6-year warranty on all sensors
O2 sensor rated for continuous use in – 30°C temperatures
Interchangeable reechargeable (NiMH) or alkaline battery packs last 25 hours per charge
Super durable IP-67 water resistant design
  Only $695.00 USD list price (alkaline)
  Only $745.00 USD list price (rechargeable)

## Slide 4: G460 Multi-gas Monitor
Up to SEVEN channels detection
Comprehensive range of interchangeable smart sensors:
  LEL, O2, CO, H2S: 3-year warranty
  Infrared combustible gas: 3-year warranty
  Infrared CO2: 3-year warranty
  Most other substance-specific EC toxic: 2-year warranty
  PID lamp: 1-year warranty

## Slide 5: G450 / G460 Optional 6-year Sensor Warranty
3-year warranty on O2, LEL, CO and H2S sensors still standard
Standard lifetime warranty on instrument
6-year sensor warranty option available for additional $250.00 at time of purchase

## Slide 6: G450 / G460 Optional 6-year Sensor Warranty

## Slide 7: Easy to use!
Basic operation is extremely simple
Single on-off button all that is needed for most day to day use
Every instrument shipped complete with operations manual

## Slide 8: Three color "Traffic Signal" display
Back lit three-color full graphics LCD
Top mounted display with wrap around (360º) LED alarm indicator
LCD includes flip and zoom functions

## Slide 9: Rugged design
Rugged, double shot molded housing includes integral rubberized boot
Durable high tension steel alligator belt clip

## Slide 10: G450 / G460 Multi-Gas Detector
Interchangeable rechargeable (NiMH) or alkaline battery packs last up to 25 hours per charge
Top-mounted, three color, full graphics LCD
Durable IP-67 water resistant design
O2 sensor rated for continuous use in –30°C temperatures

## Slide 11: G450 / G460 battery packs
Interchangeable rechargeable (NiMH) and alkaline battery packs last up to 25 hours
NiMH batteries provide excellent cycle life and low temperature performance
NiMH battery packs warranted for 2-years
Typical run-time after two years for properly maintained NiMH battery packs is usually around 16 hours

## Slide 12: Rechargeable battery pack
Available with optional built-in flashlight LEDs
LED location

## Slide 13: Expected G450 / G460 run times
*All configurations include O2 and CO/H2S sensors as well as the listed “high power” sensors
Chart: Sensors Installed*
| IR | CC/LEL | IR, PID | CC/LEL, PID | CC/LEL, IR | IR, CC/LEL, PID
 | 25.75 | 24 | 20.25 | 9.7 | 9.4 | 7

## Slide 14: Expected G450 run times as function of temperature

## Slide 15: Datalogging Standard
Mode:
  Average
  Peak
  Instantaneous
Interval:
  1 sec. – 60 min.
Internal capacity:
  1,890 intervals
  63 hours continuous at 2 min. Interval
G460:
  Built-in expansion slot for 2GB additional data storage capacity

## Slide 16: G460 Optional Extended Datalogging Storage Capacity
Built-in slot for optional high capacity extended memory card
Memory expansion card slot

## Slide 17: G450 / G460 Motorized Pump
Powerful motorized "smart pump" with its own battery pack
Sliding up the shutter turns on the pump and covers the diffusion ports
Motorized pump can be attached or removed from instrument as needed

## Slide 18: G450 / G460 Motorized Pump
"Smart" motorized pump directly monitored by instrument for proper performance
Low flow and pump malfunction alarms

## Slide 19: G450 / G460 Drop-in Charger
Smart charger includes trickle charge mode to prevent damage to battery pack due to overcharging
Available in single and double versions
Available for use with 12 VDC vehicle charging system

## Slide 20: Optional G450 / G460 Drop-in Charger for Pump Equipped Instruments
Charger simultaneously charges both pump AND instrument
Available for use with 12 VDC vehicle charging system

## Slide 21: G450 / G460 Five-Unit Multi-Charger
Five instrument multi-charger

## Slide 22: Five instrument multi-charger
Can be substituted in place of standard cradle chargers with orders of 5 or more instruments

## Slide 23: Other accessories
Calibration adapters
Sampling probes
Leather holsters
Calibration kits

## Slide 24: Use TS-400 Test Station for daily bump check
Standalone operation - No PC required!
Automatic bump-test only
Success / failure indication after each test
Economic use of test gas
Easy collection of unit test and logged data

## Slide 25: Use DS400 Docking Station for daily bump check and / or periodic calibration
Standalone operation:
No PC required
Automatic bump-test
Automatic span calibration
Success / failure indication after each test
Economic use of test gas
Easy collection of unit test and logged data
Reduced maintenance cost

## Slide 26: DS-400 Docking Station for daily bump check and / or periodic calibration
No computer required!
Docking station controlled by instrument’s control buttons:
    Push "Test" for Bump Test
    Push "Cal" for Auto Cal
    Push "Cancel" to charge only

## Slide 27: DS-404 Multi-inlet Docking Station for bump check and periodic calibration
Inlets for 4 cylinders of gas
Automatic Bump and Cal for 5, 6 and 7 channel instruments
Supports:
  Quad mix (O2, LEL, CO, H2S)
  5-mix with SO2
  5-mix with CO2
  Isobutylene
  HCN
  NO2
  And other individual gases

## Slide 28: Comprehensive Test Reports
Easy to generate custom test reports

## Slide 29: Automatically generate calibration and bump test certificates

## Slide 30: Basic operation
Basic operation is extremely simple
Single on-off button all that is needed for most day to day use
Every instrument shipped complete with operations manual

## Slide 31: Accessories included with every instrument
Instrument with CO, H2S, LEL and O2 sensors (installed)
Operations manual
Battery pack (installed)
  Rechargeable NiMH or
  Alkaline
Charging cradle (when instrument has rechargeable battery pack)
110 VAC wall-cube power source
Calibration adapter

## Slide 32: Traditional Electrochemical Toxic Gas Sensors
More types of sensors available every year
Toxic gas sensors designed to detect target gases at ever lower concentrations

## Slide 33: G460 Interchangeable Plug-and-Play Smart Sensors
Available sensors include:
  O2
  Catalytic LEL
  Infrared LEL
  Infrared CO2
  CO
  H2S
  COSH
  PID
  SO2
  Cl2
  ClO2
  NH3
  H2
  PH3
  HCN
  NO
  NO2
  HCL
  HF
  EtO
  O3
  COCl2
  HBr
  THT
  and more!

## Slide 34: G460 has the flexibility to support the right sensor technology for the job!

## Slide 35: GfG wins hands down when it comes to features AND three year cost of ownership!

## Slide 36: Sales Support: www.Goodforgas.com
Data sheets
Price lists
Manuals
Application Notes
Product images
Print ads
...and more!

## Slide 37: Questions?